# Lodge Risk Assessment

Site / activity: SQUIRREL WOOD SCOUT CAMP SITE INDOOR ACCOMMODATION RISK ASSESSMENT

Prepared by: GLYNIS ROBINSON

Date: 21ST June 2026

Review: 21st June 2027

| Hazard / activity | People involved | Control measures / procedure | Review / notes |
| --- | --- | --- | --- |
| Slips, Trips and Falls Risk – Bruises, cuts, grazes, broken bones, sprains | All | • Exit routes from the building are lit with emergency lighting in the event of power failure. • Ensure that all worn, curled or frayed edges on carpets are repaired or replaced as soon as practical. • Access to a mop, bucket and suitable equipment, for visitors to clean up any wet slip hazard areas. • All staff & visitors to ensure that exits and passageways are kept clear at all times. • Suitable cleaning supplies available to clean up any spills. After cleaning, floors must be left to dry before they are walked on. • External areas at risk are lit at night. |  |
| Fire Risk – Smoke inhalation or burns, possible death. | All | • Yearly PAT testing of electrical equipment. • Fire extinguishers provided throughout building. • Fire Doors fitted throughout to prevent spread of fire. gas. • Annual Gas Safety checks carried out. organisation.. • Fixed wire electrical supply test carried out every 5 years. • The kitchen shutter must be shut between the kitchen and main hall when cooking is in progress for fire containment in case of emergency. • Fire extinguishers and appropriate signage in place. • Appropriate signage to fire exit in place. • Fire doors must not be wedged open. • Sources of ignition must be controlled by group leader. • Fire alarm fitted. |  |
| Electrical Equipment Risk – Electrocution, burns, fire or death caused by faulty insulation or overloading of sockets | ALL | • Use as per the manufacturer’s instructions. • PAT regime in place. • Trailing cables must be minimised. • Fuses must not be overloaded. Appropriate trips on circuits. • All electrical work completed by accredited electricians. • Electrical supply fixed wire testing carried out every 5 years. • Any appliances must be reported and immediately removed from building if damaged. Group Leaders responsibility not to overload plug sockets with extension cables |  |
| Cleaning Equipment and Chemicals Risk- Burns and allergies caused by exposure to chemicals such as detergents, caustic or oven cleaners, soaps, chlorine based products and other cleaning agents. | Adults | • Cleaning supplies must be stored in designated areas. • Group leaders must ensure young people do not have access to cleaning supplies. • Cleaning chemicals supplied too visitors are stored in the locked COSH cubboard. Staff must remove industrial chemicals from building before visitor use. |  |
| Gas Equipment and Boilers Risk – Nausea, dizziness and even unconsciousness, Risk of explosion causing injury or death from fire or flying debris | Adults | • Combustible material must be kept clear of gas equipment/boilers. • Annual gas safety checks carried out and equipment installed and maintained by accredited gas safety engineer. • Extractor fan installed. Gas supply to cooker will not function unless fan is turned on. • Carbon monoxide alarms fitted. • Commercial standard extractor fan installed to remove gas fumes. Gas supply will not function if extractor is not activated. • Extractor fan fitted above the oven which covers the entire unit size. |  |
| Fall from bunk bed or furniture Risk – Bruises, cuts, grazes, broken bones, sprains and concussion. | ALL | • All top bunks fitted with guardrail and ladder for access. • Beds checked regularly by staff during cleaning. • Group leaders must ensure young people do not behave in a way that can cause danger. • Only one person allowed on a bed at a time. |  |
| Broken Crockery and Sharp Utensils Risk- Cuts | Adults Staff | • Crockery checked by staff during cleaning to ensure no broken items. • Items stored in low level cupboards to reduce risk of dropping. •Sharpe Knives are kept in a separate box |  |
| Tables and Chairs Risk- Bruises, cuts, grazes, broken bones, sprains and concussion. | Young people | • Do not stand on tables and chairs. • Group leaders must ensure tables are kept clean. • Tables are cleaned prior to occupation and departure |  |
| Failure to exit buildings in the event of an emergency evacuation Risk – Hazards associated with fire including burns and smoke inhalation. Danger of Death | ALL | • Fire Alarm installed,. Alarm is serviced annually by external fire safety organisation, and checked by Squirrel Wood Staff • Clear evacuation process and clearly marked escape routes. • All buildings to be fitted with emergency push bars on fire exits • All exit routes are adequately lit with emergency lighting which illuminates in the event of power loss. • Bedroom windows fitted with latch to allow escape. • All staff & visitors to ensure that exits and passageways are kept clear at all times |  |

Don‘t forget, as part of your programme planning, you should have contingency activities in reserve just in case you can’t do what was planned or you need to stop half way through. Make sure this is shared with those involved, so everyone knows how to respond. You should have risk assessed contingency activities prior to them taking place and communicated key information to those involved as with all activities.

Reviewed by: ____________________    Date: ____________________    Changes: ____________________

Checked by Operations Manager: ____________________    Date: ____________________